CALCULATION SHEET

Project

Structural Load Analysis of a Simply Supported RCC Beam

Given Data

- Beam Length (L) = 4 m

- Beam Width = 230 mm

- Beam Depth = 450 mm

1. Dead Load Calculation

Assumed Dead Load:

DL=2.5 kN/m

Total Dead Load:

DL=2.5×4
DL=10 kN

2. Live Load Calculation

Assumed Live Load:

LL=3 kN/m

Total Live Load:

LL=3×4
LL=12 kN

3. Wind Load Calculation

Assumed Wind Load:

WL=1 kN/m

Total Wind Load:

WL=1×4
WL=4 kN

4. Total Load

Total Load=DL+LL+WL
Total Load=10+12+4
Total Load=26 kN

5. Maximum Bending Moment

M=wL28

Where:

- w=6.5 kN/m

- L=4 m

M=6.5×428
M=13 kN⋅m

6. Maximum Shear Force

V=wL2

V=6.5×42
V=13 kN

Final Results

| Parameter | Value |
| --- | --- |
| Dead Load | 10 kN |
| Live Load | 12 kN |
| Wind Load | 4 kN |
| Total Load | 26 kN |
| Maximum Bending Moment | 13 kN·m |
| Maximum Shear Force | 13 kN |